ABSTRACT

Houses generally refer to a shelter or building that is meant as a dwelling or place for habitation by human beings. “Houses” include many kinds of dwelling ranging from rudimentary huts or nomadic tribes to high-rise apartment buildings.

A major constraint in meeting this demand is the spiraling cost of 	energy and other changes in climate. Passive solar buildings aim to maintain    interior    thermal comfort throughout the sun's daily and annual cycles whilst reducing the requirement for active heating and cooling system Passive solar building design is one part of green building design, The scientific basis for passive solar building design has been developed from a combination of climatology, thermodynamics  (particularly heat transfer), and human thermal comfort (for buildings to be inhabited by humans). Specific attention is directed to the site and location of the dwelling, the prevailing climate, design and construction, solar orientation, placement of glazing-and-shading elements, and incorporation of thermal mass. While these considerations may be directed to any building, achieving an ideal solution requires careful integration of these principles.

They present seminar intends to discuss

  - Demand for Passive solar building design.

  - Interior thermal comfort

  - Energy savings in the in future by fallowing passive building design.

  - Orientation of building according to solar path

  - Passive solar heating strategies & relative design method.

  - Environment – friendly, energy-efficient technologie

CONTENTS

- Introduction                                                                                                   4

- History                                                                                                           6

2.1 Pre Modern History

2.2 Early Passive Solar Design

2.3 Modern History

- Components                                                                                                   9

3.1 Collection

3.2 Storage

3.3 Distribution

3.4 Control

- Solar Path In Passive Design                                                                        11

- Passive solar building design principles                                                      13

5.1 Orientation

5.2 Overhangs and Shading

5.3 Windows

5.4 Thermal mass

- Passive Solar Building Design Concepts                                                      20

6.1 Direct Gain

6.2 Indirect Gain

6.3 Integrated Gain (Sunspace)

6.4 Passive Solar Cooling

6.5 Passive Solar Lighting

- Other Considerations                                                                                   36

- Conclusions                                                                                                  39

- References                                                                                                    40

LIST OF FIGURES

1.  Montezuma castle, Arizona,1200 AD                                                                     7

2.  Components                                                                                                             9

3.  Showing solar path                                                                                                  12

4.  Orientation                                                                                                               13

5.  Overhang and shading                                                                                             16

6.  Thermal mass                                                                                                          18

7.  Thermal mass in the interior absorbs                                                                      20

the sunlight & radiates the heat at night

8.  Direct gain plus storage                                                                                           21

9.  Casting of L-panel                                                                                                   22

10. Indirect gain                                                                                                            23

11. Thrombe wall                                                                                                          24

12. Day & night operation of a sunroom                                                                       26

Isolated gain system

13. Sunspace                                                                                                                  28

14. Top view of wing walls, Air flow pattern                                                               29

15. Summer venting sunroom                                                                                       29

16. Summer venting thermal mass wall                                                                        30

17. Thermal chimney                                                                                                     31

18. Thermal chimney effect built into home                                                                32

19. Skylight schematic                                                                                                  33

20. Skylights                                                                                                                  33

21. Sawtooth apertures schematic                                                                                 34

22. Monitor aperture schematic                                                                                    35

23. Atrium schematic                                                                                                    35

Chapter 1

INTRODUCTION

New construction offers the greatest opportunity for incorporating passive solar design, Passive solar system make use of natural energy flows as the primary means of harvesting solar energy, Passive solar system can provide space heating, cooling load avoidance, natural ventilation and day lighting.

Passive solar design refers to the use of the sun's energy for the heating and cooling of living spaces. In this approach, the building itself or some element of it takes advantage of natural energy characteristics in materials and air created by exposure to the sun. Passive systems are simple, have few moving parts, and require minimal maintenance and require no mechanical systems

Sun light can provide ample heat, light, and shade and induce summertime ventilation into the well designed home. Passive solar design can reduce heating and cooling energy bills, increase spatial vitality, and improve comfort.

Solar energy is a radiant heat source that causes natural processes upon which all life depends. Some of the natural processes can be managed through building design in a manner that helps heat and cool the building. The basic natural processes that are used in passive solar energy are the thermal energy flows associated with radiation, conduction, and natural convection. When sunlight strikes a building, the building materials can reflect, transmit, or absorb the solar radiation. Additionally, the heat produced by the sun causes air movement that can be predictable in designed spaces. These basic responses to solar heat lead to design elements, material choices and placements that can provide heating and cooling effects in a home.

Passive solar energy means that mechanical means are not employed to utilize solar energy.

To get the most from your home - think sun. That's right, the sun can heat and cool your home and reduce its energy use. More importantly, the energy from the sun can make your home comfortable year round.

There are two types of solar design systems -passive and active.

Homes constructed as passive solar design use the natural movement of heat and air to maintain comfortable temperatures, operating with little or no mechanical assistance. It's called passive solar because the design of the home maximizes the benefits it receives from the sun with standard construction features. Passive solar takes advantage of local breezes and landscape features such as shade trees and windbreaks, and uses a simple system to collect and store solar energy with no switches or controls.

On the other hand, active solar systems use mechanical devices such as pumps and fans to move heat from collectors to storage or from storage to use. Photovoltaic panels that collect solar energy, turning it into electricity, are also considered an active solar system.

Chapter-2

History of passive solar building design

2.1 Pre Modern - History

The techniques of passive solar building design were practiced for thousands of years, by necessity, before the advent of mechanical heating and cooling. It has remained a traditional part of Vernacular Architecture in many countries. There is evidence that ancient cultures considered factors such as solar orientation, thermal mass and ventilation in the construction of residential dwellings. The Greeks and Chinese who oriented their buildings toward the south to provide light and warmth first employed fully developed solar architecture and urban planning methods. Nearly two and a half millennia ago, the ancient Greek philosopher  Aeschylus  wrote: "Only primitives & barbarians lack knowledge of houses turned to face the Winter sun." Similarly, Socrates said: "Now, supposing a house to have a southern aspect, sunshine during winter will steal in under the verandah, but in summer, when the sun traverses a path right over our heads, the roof will afford an agreeable shade, will it not?" Roman bathhouses had large south facing windows. Solar design was largely abandoned in Europe after the Fall of Rome but continued unabated in China where cosmological traditions associate the south with summer, warmth and health.

- The Greeks faced severe fuel shortages in fifth century , resorting to arranging their houses so that each could make maximum use of  the sun’s warming rays.

- The romans picked up on this technique, and improved it by adding windows of mica or glass to better hold in the heat.

2.2 EARLY PASSIVE SOLAR DESIGN (fig below)

- Direct gain construction

- South facing

- Overhang

- Stone is a good thermal mass.

Fig.1: Montezuma castle, Arizona, 1200AD

2.3 Modern - History

Although earlier experimental solar houses were constructed using a mixture of active and passive solar techniques, some of the first European engineered passive solar houses of the modern era were built in Germany after World war I, when the Allies occupied the rural area, including most of Germany's coal mines.

Architect George F Keck was a pioneering designer of passive solar houses in the 1930s and 40s. He designed the all-glass "House of Tomorrow" for the 1933 Century of progress Exposition in Chicagoand noted that it was warm inside on sunny winter days prior to the installation of the furnace. Following this he gradually started incorporating more south-facing windows into his designs for other clients, and in 1940 designed a passive solar home for real estate developer Howard Sloan in Glenview, Illinois. The Chicago Tribune, the first modern use of that term, called the Sloan House a “solar house”. Sloan then built a number of passive solar houses, and his publicity efforts contributed to a significant "solar house" movement in the 1940s.

.

Chapter.3

COMPONENTS

Fig.2: Components

3.1. Collection:

Passive heating concepts use heat from the sun to offset winter heating needs. The collection subsystem may include windows, skylights, or some other type of solar aperture.  The purpose of the collection subsystem is to allow sunlight into the building to heat the space and, if appropriate, to heat the storage mass. The storage subsystem usually includes parts of the floor or interior walls of the building.

3.2. Storage:

The purpose of the storage subsystem is to store the collected solar heat until it is needed by the occupants in the building.  In most cases, heat is collected during the daytime and used at night. Stored energy is released from the storage mass and distributed throughout the building to offset heating energy use.

3.3. Distribution:

Distribution is accomplished by arranging the functional spaces of the building such that those that need heat are closest to the storage subsystem. The size and shape of the solar apertures (collection subsystem) affects the quantity of heating energy available to offset auxiliary heating energy needs. The size of the storage subsystem affects the quantity of heat stored and the time delay between initial collection and final use of energy. The size, shape, and location of rooms in the building impact the optimum distribution of the heat throughout the building. Heat distribution is accomplished by a combination of radiation and convection. Heat is radiated from the storage subsystem into the rooms being heated after the collected solar energy has passed through the storage system. Heat is convected through the air, warming it, and thereby warming the people in the room.

3.4. Control:

Control of the passive heating system might be quite different from control of an HV or HVAC system. In many passive buildings, control is achieved through the use of shading devices, or some other means to regulate the sunlight entering the building. More complex passive buildings may also have thermostats to control fans and motors that regulate the air flow control vents. In many passive buildings, the control mechanisms are manual; that is, people control the building. A balance between the size, shape, and location of each subsystem must be achieved to ensure optimal system performance and

Efficiency. If the collection subsystem is too large or too small, then either too much energy is collected and the building is overheated or not enough energy is collected to be effective. Similarly, if the storage subsystem is improperly sized, then it either holds the energy in storage too long (oversized) or not long enough (undersized) to provide heat to the building when it is needed. Finally, if the spaces of the building are not correctly organized, the heat cannot be distributed in a manner that ensures optimal auxiliary heating energy savings and comfort. In developing this handbook, extensive analysis was done to determine the -optimal size of different subsystems for various climate zones and building types.

Chapter.4

SOLAR PATH IN PASSIVE DESIGN

The ability to achieve these goals simultaneously is fundamentally dependent on the seasonal variations in the sun's path throughout the day.

This occurs as a result of the inclination of the earth's axis of rotation in relation to its orbit. The sun path is unique for any given latitude. Generally the sun will appear to rise in the east and set in the west, In Northern Hemisphere non-tropical latitudes farther than 23.5 degrees from the equator:

 the sun will reach its highest point toward the South (in the direction of the equator)

 as winter solstice approaches, the angle at which the sun rises and sets progressively

Moves further toward the South and the daylight hours will become shorter.

 the opposite is noted in summer where the sun will rise and set further toward the North

And the daylight hours will lengthen.

The converse is observed in the Southern Hemisphere, but the sun rises to the east and sets toward the west regardless of which hemisphere you are in.

In equatorial regions at less than 23.5 degrees, the position of the sun at solar noon will oscillate from north to south and back again during the year.

In regions closer than 23.5 degrees from either north-or-south pole, during summer the sun will trace a complete circle in the sky without setting whilst it will never appear above the horizon six months later, during the height of winter.

The 47-degree difference in the altitude of the sun at solar noon between winter and summer forms the basis of passive solar design. This information is combined with local climatic data (degree day) heating and cooling requirements to determine at what time of the year solar gain will be beneficial for thermal comfort, and when it should be blocked with shading. By strategic placement of items such as glazing and shading devices, the percent of solar gain entering a building can be controlled throughout the year.

One passive solar sun path design problem is that although the sun is in the same relative position six weeks before, and six weeks after, the solstice, due to "thermal lag" from the thermal mass of the Earth, the temperature and solar gain requirements are quite different before and after the summer or winter solstice. Movable shutters, shades, shade Screens, or window quilts can accommodate day-to-day and hour-to-hour solar gain and insulation requirements.

Careful arrangement of rooms completes the passive solar design. A common recommendation for residential dwellings is to place living areas facing solar noon and sleeping quarters on the opposite side. A helidon is a traditional movable light device used by architects and designers to help model sun path effects. In modern times, 3D computer graphics can visually simulate this data, and calculate performance predictions  Fig.3: Showing Solar Path

Chapter.5

THE BASIC SOLAR DESIGN PRINCIPLES

5.1 Orientation

5.2 Overhangs and shading

5.3 Windows

5.4 Thermal mass

5.1 Orientation

Fig.4 : Orientation

Here's a news flash...the sun rises in the east and sets in the west. Here's another... the sun is higher in the summer sky and lower in the winter sky. So what does that have to do

with a passive-design house? Everything. This simple lesson of nature literally sets the foundation for a well-designed solar home.

When settlers constructed haciendas and missions in early California, they used a simple and inexpensive design technique that today's builders all-too-often overlook: placing a building in its natural surroundings to make it more comfortable for its inhabitants. Early Spanish designs were usually long rectangular buildings, situated so their longer walls faced toward the south to absorb the heat from the low winter sun. In the summer, when the sun was higher in the sky, long porches helped to shade the buildings and keep them cooler.

Early Californians knew that the key to good solar design is to face it south. There is no substitute for a site with good southern exposure.

Today's passive design solar home is based on exactly the same principles. When sunlight falls on or in a house, it is converted to heat- so the business end of a home, at least from an energy perspective, is the south side.

If possible, the longer axis of the building, also known as the ridge line, should be oriented east/west. By facing the ridge line in that direction, the longer dimension of your home faces sunny south. The optimum position for maximum solar benefits is true south but you can vary the orientation within 20 degrees of that direction with minimal effect. In most parts of the U.S., however, just making the building the right shape, properly placing its windows and pointing it in the right direction can cut the building's total energy use by 30 percent- 40 percent at no extra cost.

Areas which are most frequently used should be located on the longer, south side of the building, where sunlight can enter through windows in the south side, high clerestories windows, or skylights. The shorter east/west side reduces the amount of surface area exposed to the sun and cuts down of heat gain. Spaces such as garages, storage or laundry rooms can be situated on the house's east/west facing "short side" where they act as an additional thermal (or heat) buffer.

Since you live in your home summer and winter, you should design it for the entire year. It is important to be comfortable all year long, not just a single season. Sometimes, solar homes are built with large areas of upward, tilted, south-facing glass, designed to catch every bit of sun, winter or summer. While tilted glass does maximize heat gain during the winter months, it also maximizes that same heat gain during the summer. If you understand that the rays of sun's high summer arc will bounce off vertical, south-facing glass and reduce heat gain, you can let nature do the work for you in a passively designed home. Remember, too, that heating and cooling needs differ from locale to locale - Sacramento's climate (in California's Central Valley) is a lot different than San Francisco's climate, even though they are only 100 miles apart and virtually at the same latitude.

Designing for all 12 months means knowing the environmental particulars and weather patterns that relate to your home's site. Sometimes those factors can be as important as facing the building south.

Landscape features such as trees, rocky outcroppings, small hills or water can impact how your home performs. Become familiar with the prevailing winds and the pattern of air movement on your property - this knowledge will help you use trees and other natural features to direct summer breezes into the house while channelling cold winter winds away from it. Evergreen trees or a sheltering hilly outcropping on the north can buffer winter winds and harsh weather. Deciduous trees placed on the south and east or west can shade your home in the summer before dropping their leaves in the winter to let the sunlight into your home.

5.2 overhangs and shading

Fig.5 : Overhangs and shading

Keep the sun off the glass in the summer. Let the sun fall on the glass in the winter. How can you do both? Shade, of course.

Overhangs are one of the best (and least costly) shade design elements to include in your home. In the summer, when the sun is high in the sky, the overhangs should shade the room completely. In the winter, when the sun is low, the overhangs should allow the full sun to enter, warming the air, as well as the floor, wall and other features.

It's important that overhangs are properly sized. If they are too short and in the summer, your south-facing glass can act as a solar cooker for your living spaces. If they are too long, your living areas will stay dark and cool not only in the summer, but in the winter as well.

The best scheme to keeping your home cool is not to let it get hot in the first place, so use shade when possible. Besides overhangs, shading can be provided by several other means: cover panels over skylights, insulated drapes or shutters, exterior shades, awnings and landscaping.

Properly placed trees and vine-covered trellises can stop summer sun on the south, east and west sides of your home. Landscaping is one of the best methods to keep your home cool. The temperature inside your home can increase as much as 20 degrees or more if east and west windows and walls are not shaded.

Deciduous trees and vines make good partners with passive-designed buildings because they lose their leaves in the winter and permit more sunlight to pass through during the cold season. Trees also take overhangs one step further - they can lower roof and attic temperatures by shading the roof as well as blocking direct solar gain. Care must be taken in planting trees, however, so their shadows will not fall on solar collectors used for water heating.

5.3 Windows

Keep the sun off the glass in the summer. Let the sun fall on the glass in the winter. How can you do both? Shade, of course.

Overhangs are one of the best (and least costly) shade design elements to include in your home. In the summer, when the sun is high in the sky, the overhangs should shade the room completely. In the winter, when the sun is low, the overhangs should allow the full sun to enter, warming the air, as well as the floor, wall and other features.

It's important that overhangs are properly sized. If they are too short and in the summer, your south-facing glass can act as a solar cooker for your living spaces. If they are too long, your living areas will stay dark and cool not only in the summer, but in the winter as well.

The best scheme to keeping your home cool is not to let it get hot in the first place, so use shade when possible. Besides overhangs, shading can be provided by several other means: cover panels over skylights, insulated drapes or shutters, exterior shades, awnings and landscaping.

Properly placed trees and vine-covered trellises can stop summer sun on the south, east and west sides of your home. Landscaping is one of the best methods to keep your home cool. The temperature inside your home can increase as much as 20 degrees or more if east and west windows and walls are not shaded.

Deciduous trees and vines make good partners with passive-designed buildings because they lose their leaves in the winter and permit more sunlight to pass through during the cold season. Trees also take overhangs one step further - they can lower roof and attic temperatures by shading the roof as well as blocking direct solar gain. Care must be taken in planting trees, however, so their shadows will not fall on solar collectors used for water heating.

5.4 Thermal mass

Fig.6: Thermal mass

So far everything described as a passive home is basic, smart construction. What truly sets a passive design home apart from a standard tract home is thermal mass.

If solar heat is to be used when the sun is not shining, excess heat must be stored. Everyone has leaned against a sun-warmed brick or stone. It's warm and comfortable and takes a while to cool off. That's thermal mass. Thermal mass is simply a solid or liquid material that will absorb and store warmth and coolness until it is needed.

Thermal mass in the form of concrete, masonry or water has a much better storage capacity for heating and cooling than does the surrounding air. That's why thermal mass acts to prevent large changes of indoor temperature as the outdoor temperatures rise or fall. In fact, a well designed solar home can hold an interior temperature between 68 and 70 degrees, balancing the square footage of glass (solar collectors) and the right amount of effective thermal storage mass.

In winter, thermal mass absorbs heat by direct sunlight. At night the process is reversed as thermal mass gives up heat, warming the room by radiation, convection and conduction. In the summer, thermal mass should be shaded so it draws the warmth from the surrounding air and cools the room. The greater the area of thermal mass, the greater its ability to store heat and maintain a uniform temperature. There are two ways thermal mass works in a passive design home: direct solar gain and indirect solar gain.

How thermal mass is used in a passively designed home is the owner's choice. Thermal mass can take numerous forms such as brick, tile or thick concrete floors (called a Solar Slab). It can also be a large brick or stone internal fireplace or an interior wall made of adobe or brick.

A masonry or concrete wall (called a Trombe Wall) or water filled containers (called a Tube Wall) can also be used to absorb heat and cool. This type of system must have southern exposure and receive direct sunlight.

Regardless of which type of passive system is installed in your home, it must be thoughtfully designed, balancing glazing with thermal storage mass.

Chapter.6

Passive Solar Building Design Concepts :

A total of eleven different passive concepts will be considered. Many other possible solar concepts were evaluated. The ones listed below are appropriate in a wide range of climates and building types.

- (H) Direct gain with storage

- (H) Indirect gain

- (H) Direct gain (without storage)

- (H) Sunspaces

- (C) Night Mechanical Ventilation

- (C) Natural Ventilation

- (L) Windows

- (L) Skylights

- (L) Sawtooth Apertures

- (L) Monitor Apertures

- (L) Atria

The letters (H), (C), and (L) stand for heating, cooling, and lighting, respectively, and are used to remind you of the purpose for each passive solar system concept.

6.1 Direct Gain

In this system, the actual living space is a solar collector, heat absorber and distribution system. South facing glass admits solar energy into the house where it strikes directly and indirectly thermal mass materials in the house such as masonry floors and walls. The direct gain system will utilize 60 - 75% of the sun's energy striking the windows.

Fig.7: Thermal mass in the interior absorbs the sunlight and radiates the heat at night

In a direct gain system, the thermal mass floors and walls are functional parts of the house. It is also possible to use water containers inside the house to store heat. However, it is more difficult to integrate water storage containers in the design of the house.

Fig.8: Direct Gain plus Storage.

Air National Guard Composite Operations and Training Facility, Bangor, Maine. NOTE:The illuminated mass wall on the left of the picture and the sloped direct gain apertures in the roof.

Direct gain system rules of thumb:

A heat load analysis of the house should be conducted.

- Do not exceed 6 inches of thickness in thermal mass materials.

- Do not cover thermal mass floors with wall to wall carpeting; keep as bare as functionally and aesthetically possible.

- Use a medium dark color for masonry floors; use light colors for other lightweight walls; thermal mass walls can be any color.

- For every square foot of south glass, use 150 pounds of masonry or 4 gallons of water for thermal mass.

- Fill the cavities of any concrete block used as thermal storage with concrete.

- Use thermal mass at less thickness throughout the living space rather than a concentrated area of thicker mass.

- The surface area of mass exposed to direct sunlight should be 9 times the area of the glazing.

- Sun tempering is the use of direct gain without added thermal mass. For most homes, multiply the house square footage by 0.08 to determine the amount of south facing glass for sun tempering.

Fig.9: Casting of L-Panel

6.2 Indirect Gain

In an indirect gain system, thermal mass is located between the sun and the living space. The thermal mass absorbs the sunlight that strikes it and transfers it to the living space by conduction. The indirect gain system will utilize 30 – 45% of the sun’s energy striking the glass adjoining the thermal mass.

Fig.10: Indirect gain

Here there are two types of indirect gain systems:

- Thermal storage wall systems (Trombe Walls)

- Roof pond systems

Thermal Storage Wall –In Direct gain system a passive solar heating system consisting of a south facing wall constructed of heavy masonry (Trombe Wall) or water filled containers (water wall). The outside south-facing surface is glazed to admit sunlight and reduce heat losses.

Thermal storage wall systems:

The thermal mass is located immediately behind south facing glass in this system.

Fig.11: Thrombe wall

Thermal Mass Walls or Trombe Wall Day and Night Operable vents at the top and bottom of a thermal storage wall permit heat to convect from between the wall and the glass into the living space. When the vents are closed at night radiant heat from the wall heats the living space.

# Roof pond systems:

Six to twelve inches of water are contained on a flat roof.

This system is best for cooling in low humidity climates but can be modified to work in high humidity climates. (Effectively provides heat in southern U.S. latitudes during the heating season for one story or upper stories of buildings.)

Water is usually stored in large plastic or fiberglass containers covered by glazing and the space below is warmed by radiant heat from the warm water above.

These require somewhat elaborate drainage systems, movable insulation to cover and uncover the water at appropriate times, and a structural system to support up to 65 lbs/sq ft dead load.

Indirect gain system rules of thumb for thermal storage walls

- The exterior of the mass wall (toward the sun) should be a dark color.

- Use a minimum space of 4 inches between the thermal mass wall and the glass.

- Vents used in a thermal mass wall must be closed at night.

- A well insulated home (7-9 BTU/day-sq. ft.-degree F) will require approximately 0.20 square feet of thermal mass wall per square foot of floor area or 0.15 square foot of water wall.

- If movable night insulation will be used in the thermal wall system, reduce the thermal mass wall area by 15%.

- Thermal wall thickness should be approximately 10-14 inches for brick, 12-18 inches for concrete, 8-12 inches for adobe or other earth material and at least 6 inches for water.

6.3 Isolated Gain:

An isolated gain system has its integral parts separate from the main living area of a house. Examples are a sunroom and a convective loop through an air collector to a storage system in the house. The ability to isolate the system from the primary living areas is the point of distinction for this type of system.

The isolated gain system will utilize 15 - 30% of the sunlight striking the glazing toward heating the adjoining living areas. Solar energy is also retained in the sunroom itself.

Sunrooms (or solar greenhouses) employ a combination of direct gain and indirect gain system features. Sunlight entering the sunroom is retained in the thermal mass and air of the room. Sunlight is brought into the house by means of conduction through a shared mass wall in the rear of the sunroom, or by vents that permit the air between the sunroom and living space to be exchanged by convection.

The use of a south facing air collector to naturally convict air into a storage area is a variation on the active solar system air collector. These are passive collectors. Convective air collectors are located lower than the storage area so that the heated air generated in the collector naturally rises into the storage area and is replaced by return air from the lower cooler section of the storage area. Heat can be released from the storage area either by opening vents that access the storage by mechanical means (fans), or by conduction if the storage is built into the house.

The sunroom has some advantages as an isolated gain approach in that it can provide additional usable space to the house and plants can be grown in it quite effectively.

The convective air collector by comparison becomes more complex in trying to achieve additional functions from the system. This is a drawback in this area where space heating is less of a concern than in colder regions where the system would be used longer. It is best to use a system that provides more than one function if the system is not an integral part of the building. The sunroom approach will be emphasized in this information since it can provide multiple functions.

Fig.12: Day and Night Operation of a Sunroom Isolated Gain System

Sunrooms (Sunspace):

Sunrooms can feature sloped and/or overhead glass, but is not recommended for the Austin area. A sunroom will function adequately without overhead or sloped glazing. Due to long hot summers in this area, it is important to use adequate ventilation to let the heat out. Sloped or overhead glazing is also a maintenance concern. Due to the intensity of weather conditions for glazing facing the full .I. ventilation: passive design and brunt of the sun and rain, seals between the gazing panels need to be of extremely high material and installation quality.

A thermal wall on the back of the sunroom against the living space will function like the indirect gain thermal mass wall. With a thermal wall in the sunroom, the extra heat  -During the day can be brought into the living space via high and low vents like in the indirect gain thermal wall.

More elaborate uses of the heated air generated in the sunspace can be designed into this system, such as transferring the hot air into thermal mass located in another part of the house.

Isolated Gain rules of thumb for sunrooms:

  - Use a dark color for the thermal wall in a sunspace.

  - The thickness of the thermal wall should be 8-12 inches for adobe or earth materials, 10-14 inches for brick, 12-18 inches for (dense) concrete.

  - Withdraw excess heat in the sunroom (if not used for warm weather plants) until the room reaches 45 degrees and put the excess heat into thermal mass materials in other parts of the house.

  - For a sunroom with a masonry thermal wall, use 0.30 square feet of south glazing for each square foot of living space floor area. If a water wall is used between the sunroom and living space instead of masonry, use 0.20 square feet of south facing glass for each square foot of living area.

  - Have a ventilation system for summer months.

  - If overhead glass is used in a sunroom, use heat reflecting glass and or shading systems in the overhead areas.

Fig .13: sun space

6.4 Passive Solar Cooling:

 Ventilation & Operable Windows

A primary strategy for cooling buildings without mechanical assistance (passive cooling) in hot humid climates is to employ natural ventilation. (The Fan and Landscape sections also address ventilation strategies.) In the Austin area, prevailing summer breezes are from the south and southeast. This matches nicely with the increased glazing on the south side needed for passive heating, making it possible to achieve helpful solar gain and ventilation with the following strategies:

- Place operable windows on the south exposure.

- Casement windows offer the best airflow. Awning (or hopper) windows should be fully opened or air will be directed to ceiling. Awning windows offer the best rain protection and perform better than double hung windows.

- If a room can have windows on only one side, use two widely spaced windows instead of one window.

   Wing Walls

Wing walls are vertical solid panels placed alongside of windows perpendicular to the wall on the windward side of the house.

Fig.14: Top View of Wing Walls Airflow Pattern

Wing walls will accelerate the natural wind speed due to pressure differences created by the wing wall

- Thermal Chimney

A thermal chimney employs convective currents to draw air out of a building. By creating a warm or hot zone with an exterior exhaust outlet, air can be drawn into the house ventilating the structure.

Sunrooms can be designed to perform this function. The excessive heat generated in a south facing sunroom during the summer can be vented at the top. With the connecting lower vents to the living space open along with windows on the north side, air is drawn through the living space to be exhausted through the sunroom upper vents. (The upper vents from the sunroom to the living space and any side operable windows must be closed and the thermal mass wall in the sunroom must be shaded.)

Fig.15: Summer Venting Sunroom

Fig.16: Summer Venting Thermal Mass Wall

Thermal mass indirect gain walls can be made to function similarly except that the mass wall should be insulated on the inside when performing this function.

Fig.17: Thermal Chimney

Thermal chimneys can be constructed in a narrow configuration (like a chimney) with an easily heated black metal absorber on the inside behind a glazed front that can reach high temperatures and be insulated from the house. The chimney must terminate above the roof level. A rotating metal scoop at the top, which opens opposite, the wind will allow heated air to exhaust without being overcome by the prevailing wind.

Thermal chimney effects can be integrated into the house with open stairwells and atria. (This approach can be an aesthetic plus to the home as well.)

# Other Ventilation Strategies

- Make the outlet openings slightly larger than the inlet openings.

- Place the inlets at low to medium heights to provide airflow at occupant levels in the room.

Fig.18: Thermal Chimney Effect Built into Home

Inlets close to a wall result in air "washing" along the wall. Be certain to have centrally located inlets for air movement in the center areas of the room.

Window insect screens decrease the velocity of slow breezes more than stronger breezes (60% decrease at 1.5 mph, 28% decrease at 6 mph). Screening a porch will not reduce air speeds as much as screening the windows.

Night ventilation of a home should be done at a ventilation rate of 30 air changes per hour or greater. Mechanical ventilation will be required to achieve this.

High mass houses can be cooled with night ventilation providing that fabric furnishings are minimized in the house.

Keep a high mass house closed during the day and opened at night.

6.5 Passive solar lighting:

Skylights:

Fig.19:Skylight schematic.

Skylights (SKY), as illustrated in Figure, are horizontal apertures cut through the roof of a building.

Fig.20: Skylights

SAWTOOTH APERTURES:

Sawtooth apertures (SAW), as schematically illustrated in Figure below, are a toplighting system that includes a glazed vertical surface and a sloped roof. The name comes from the fact that a series of these apertures look like the teeth of a handsaw. In some literature, this type of aperture is called a roof clerestory.

Fig.21: illustrates sawtooth apertures schematic

Monitor Apertures

Monitor apertures (MON) were initially developed during the 19th century for use in industrial facilities that had high- and low-bay areas side by side. See Figure. The highbay is extended beyond the roof line and glazed on two opposing sides that extend above the roof.  Both sawtooth and monitor apertures are appropriate in almost all one-story buildings that have large open areas, such as industrial facilities, maintenance facilities, and warehouses.

Fig.22: Monitor aperture schematic.

Atrium:

Atrium: In multistory commercial-type buildings, the most difficult location to daylight is the center of the building, called the building core. An atrium (ATR) is a core daylighting  concept that opens up the center of the building so that it can he daylight. See Figure.  An atrium works best when the perimeter of the building, within 15 ft of the exterior walls, is daylighted using sidelighting techniques.  An atrium can be capped with any of the roof aperture systems previously discussed.

Fig.23: Atrium schematic

Chapter.7

Other Consideration

Special Glazing System & Window Covering

The effectiveness of direct solar gain systems is significantly enhanced by insulative (e.g. double-glazing), spectrally selective glazing (low-e), or movable window insulation (window quilts, bifold interior insulation shutters, shades, etc

Generally, Equator-facing windows should not employ glazing coatings that inhibit solar gain.

There is extensive use of super-insulated windows in the German passive house standard. Selection of different spectrally selective window coating depends on the ratio of heating versus cooling degree-days for the design location.

Glazing Selection

Equator Facing Glass:

The requirement for vertical equator-facing glass is different than for the other three sides of a building. Reflective window coating and multiple panes of glass can reduce useful solar gain. However, direct-gain systems are more dependent on double or triple coating to reduce heat loss. Indirect-gain and isolated-gain configurations may still be able to function effectively with only single-pane glazing. Nevertheless, the optimal cost-effective solution is both location and system dependent.

Roof-Angle Glass / Sky Light:

Sloping roof-angled glass is difficult to shade and insulate without sophisticated movable systems. In hot climates with significant degree day cooling requirements, it can create a summer solar furnace (from the Ancient Greek / Roman term "heliocaminus").

Roof-angled glass or skylights are not optimally placed to receive low-angled winter sun. At the same time, they are the site of heat loss during winter from the buoyant warm air that rises. As a result, they will increase heating and cooling energy requirements, which

Exceeds the  benefit of daylight energy consumption reduction compared to more energy-efficient lighting systems such as light tubes.

Transparent glass and plastic have little structural strength. Vertically, they bear their own weight because only the thickness is subject to gravity. As the angle tilts from vertical, an increased area (the sloped cross-section) must resist gravity. Glass is brittle - It does not flex much before breaking - To counteract this, you must increase thickness, or structural supports - Both increase overall cost, and reduce solar gain potential. Sloped glazing is exposed to the weather, leaks, hail, ice-and-snow load, wind, and material failure. Excess solar gain, harsh lighting, and undesirable heat transfer through sloped glass are difficult to control. “Therefore, vertical glazing is the overall best option for sunspaces.”

Operable Shading & Insulation Devices:

A design with too much equator-facing glass can result in excessive winter, spring, or fall day heating, uncomfortably-bright living spaces at certain times of the year, and excessive heat transfer on winter nights and summer days.

Although the sun is at the same altitude 6-weeks before and after the solstice, the heating and cooling requirements before and after the solstice are significantly different. Heat storage on the Earth's surface causes "thermal lag." Variable cloud cover influences solar gain potential. This means that latitude-specific fixed window overhangs, while important, are not a complete seasonal solar gain control solution.

Control mechanisms (such as manual-or-motorized interior insulated drapes, shutters, exterior roll-down shade screens, or retractable awnings) can compensate for differences caused by thermal lag or cloud cover, and help control daily / hourly solar gain requirement variations. Home automation systems that monitor temperature, sunlight, time of day, and room occupancy can precisely control motorized window-shading-and-insulation devices.

Chapter.8

Conclusions

- Passive solar building design is a part of green building design by the providing this type of design; we can able to use solar energy, which offers no cost  & our non-renewable resources can be saved to a larger extent.

- Passive solar building design provides thermal comfort during various seasons, like summer, winter & it is very use full design to provide natural ventilation in the building, passive solar provides natural light by installation of photovoltaic, which didn’t require any other source of energy, proper orientation of building can be done by this type of design.

- As we are seeing the day by day the earths weather condition is changing improperly due to the pollution which we are making on the earth, & global temperature is also raising day by day, This year in India we are observing a Highest temperature of 47o C, in north, so there is a lot of scope for this type of construction which provide us a complete comfort during all seasons and all weathering condition.

- In western countries this type of construction is common scenario, and they have codal provisions for Passive solar design, but unfortunately in India we are still lacking behind, this is a very vast study area to deal with, So i expect this report may help us to know something about the need for this subject.

Chapter.9

References:

- United state air force Passive solar design Handbook. .

- California energy commission report on Passive solar design.

- ASCE journals

(ASCE  journal of architectural engineering vol.1, no.1, march1995, sep1996).

- Source book for green and sustainable building design.

- US Department of civil engineers and energy conservation report.

- US Department of energy. (A report on passive solar system).