SCADA

IN

POWER DISTRIBUTION

SYSTEMS

ABSTRACT:

The efficient and authentic power supply to the consumer is the primary function of any distribution system. So, in distribution systems certain measures are taken for supervision, control, operation, measurement and protection. These are highly onerous works that take lot of manpower. So, the need of advanced automatic control systems to reach the required destination is becoming mandatory, to supersede antiquated ways that are persisting in the present distribution system.

In this paper we emphasize mainly on the SCADA (Supervisory Control And Data Acquisition) systems, the most sophisticated automatic control system, being used in distribution automation for quality power. This paper commences with basic introduction of “what is SCADA?” Then continues by describing about the hardware components and basic architecture of SCADA system used in distribution automation. Clearly elucidates about the software components that are installed in a SCADA system which can be used for distribution power systems and for quality power

This paper then takes upon applications of SCADA, the exalted aspect, in distribution systems. The applications include control, operation, supervision, measurement and instrumentation, service of SCADA in distribution systems. This is the latest trend in power system protection and control.

1. INTRODUCTION:

The Indian electric power supply system is the most complex power grid system. So, efficient and reliable power supply is the major concern of our supply system. The losses that occur in the transmission and distribution are very large in comparison with major developed countries. This occurs because of inefficient safety, monitoring and control devices that are persisting in present distribution system. The most advanced automatic control system, which can perform the operations like monitoring and control is SCADA. SCADA is the application of computer in power systems. Distribution automation is the major up gradation of any distribution system. This can be achieved by implementing SCADA in distribution systems.

SCADA is an acronym for Supervisory Control and Data Acquisition. SCADA systems are used to monitor and control a plant or equipment in industries such as telecommunications, water and waste control, energy, oil and gas refining and transportation. These systems encompass the transfer of data between a SCADA central host computer and a number of Remote Terminal Units (RTUs) and/or Programmable Logic Controllers (PLCs), and the central host and the operator terminals. These systems can be relatively simple, such as one that monitors environmental conditions of a small office building, or very complex, such as a system that monitors all the activity in a nuclear power plant or the activity of a municipal water system. Traditionally, SCADA systems have made use of the Public Switched Network (PSN) for monitoring purposes. Today many systems are monitored using the infrastructure of the corporate Local Area Network (LAN)/Wide Area Network (WAN). Wireless technologies are now being widely deployed for purposes of monitoring.

A SCADA system can be implemented with the hardware and software components that constitute a whole SCADA system. Using SCADA system the various application programs that can be implemented in power supply systems are fault location, load balancing, load shedding etc. Now a detailed description of hard ware components, software components and application programs is given.

2. HARDWARE COMPONENTS:

The components of a SCADA system are field instrumentation, remote stations, Communication Network (CN) and Central Monitoring Station (CMS).

2.1 Field instrumentation:

Field instrumentation generally comprises sensors, transmitters and actuators that are directly interfaced to the plant or equipment and generate the analog and digital signals that will be monitor by the remote station. Signals are also conditioned to make sure they are compatible with the inputs/outputs of the Remote Terminal Unit (RTU) or a Programmable Logic Controller (PLC) at the remote Station. It also refers to the devices that are connected to the equipment or machines being controlled and monitored by the SCADA system. These are sensors for monitoring certain parameters and actuators for controlling certain modules of the system.

2.2 Remote stations:

The remote station is installed at the remote plant with equipment being monitored and controlled by the central host computer. This can be a RTU or PLC. Field instrumentation, connected to the plant or equipment being monitored and controlled, is interfaced to the remote station to allow process manipulation at a remote site. It is also used to gather data from the equipment and transfer it to the central SCADA system.                                  Fig 1: RTU on the pole top

2.3 Communication Network:

The Communication Network (CN) refers to the communication equipment needed to transfer data to and from different sites. The medium used can be cable, telephone, radio, and fiber optic or satellite communication system.

2.4 Central Monitoring Station:

The Central Monitoring Station (CMS) is the     Fig 2: RTU in a sub station                                   master unit of the SCADA system. Its function is collecting information gathered by the remote stations and generating necessary action for any event that is detected. The CMS can have a single computer configuration or it can be networked to workstations to facilitate sharing of information from the SCADA system. It uses a Man Machine Interface (MMI) to monitor various types of data needed for the operation. A MMI program runs on the CMS computer. A mimic diagram of the whole plant or process can be displayed onscreen for easier identification with the real system. Each I/O point of the remote units can be displayed with corresponding graphical representation and the present I/O reading. Set-up parameters such as trip values, limits, etc. are entered on this program and downloaded to the corresponding remote units for updating of their operating parameters.

.                           Fig 3: A typical SCADA system architecture

There are two typical network configurations for the SCADA systems. They are the point-to-point and the point-to-multipoint configurations. The point-to-point configuration is the simplest set-up for a telemetry system. Here data is exchanged between two stations. One station can be set up as the master and the other as the slave. The point-to-multipoint configuration is where one device is designated as the master unit to several slave units. The master is usually the main host and is located in the control room, while the slaves are the remote units. Each slave is assigned a unique address or identification number.

3. SOFTWARE COMPONENTS:

3.1 Data Acquisition and Processing:

This serves as a data collector from the devices to our SCADA system is connected and presents it as a processed data to user. Data acquisition can be done in multiple scan rates and uses different protocols. The data can be fetched as a whole or as a group and also report by exception. Data processing means conversion of fetched data into engineering conversions, zero suppression, reasonability check, and calculation subsystem. So, user can use this processed data for future purposes.

3.2 Control:

Users are allocated to groups, which have defined read/write access privileges to the process parameters in the system and often also to specific product functionality. The allocated users can have the access to the devices, which are to be controlled. Control can be either single or group, open or closed loop control. The execution of control can be executed at selective places, can be immediately executed, can be executed at required time etc.

3.3 Man machine interface:

The products support multiple screens, which can contain combinations of synoptic diagrams and text. They also support the concept of a "generic" graphical object with links to process variables. These objects can be "dragged and dropped" from a library and included into a synoptic diagram.

Most of the SCADA products that were evaluated decompose the process in "atomic" parameters (e.g. a power supply current, its maximum value, its on/off status, etc.) to which a Tag-name is associated. The Tag-names used to link graphical objects to devices can be edited as required. The products include a library of standard graphical symbols, many of which would however not be applicable to the type of applications encountered in the experimental physics community.

Standard windows editing facilities are provided: zooming, re-sizing, scrolling etc. On-line configuration and customization of the MMI is possible for users with the appropriate privileges. Links can be created between display pages to navigate from one view to another.

3.4 Alarm handling:

Alarm handling is based on limit and status checking and performed in the data servers. More complicated expressions (using arithmetic or logical expressions) can be developed by creating derived parameters on which status or limit checking is done by the data server. The alarms are logically handled centrally, i.e., the information only exists in one place and all users see the same status (e.g., the acknowledgement), and multiple alarm priority levels (in general many more than 3 such levels) are supported

Most of the SCADA products that were evaluated decompose the process in "atomic" parameters (e.g. a power supply current, its maximum value, its on/off status, etc.) to which a Tag-name is associated. The Tag-names used to link graphical objects to devices can be edited as required. The products include a library of standard graphical symbols, many of which would however not be applicable to the type of applications encountered in the experimental physics community.

3.5 Logging and Archiving:

The terms logging and archiving are often used to describe the same facility. However, logging can be thought of as medium-term storage of data on disk, whereas archiving is long-term storage of data either on disk or on another permanent storage medium. Logging is typically performed on a cyclic basis, i.e., once a certain file size, time period or number of points is reached the data is overwritten. Logging of data can be performed at a set frequency, or only initiated if the value changes or when a specific predefined event occurs. Logged data can be transferred to an archive once the log is full. The logged data is time-stamped and can be filtered when viewed by a user. The logging of user actions is in general performed together with either a user ID or station ID. There is often also a VCR facility to play back archived data.

3.6 Automated mapping and facilities management (AM/FM):

SCADA systems can be made use to have GUI system. GUI system can be used to have maps, graphical representation of the required area, and graphical representation of required data. Using SCADA these maps can be layered, zoomed, scrolled and planned. The historical data of the machine can also be used.

4. APPLICATION PROGRAMS:

The various application programs that can be implemented using SCADA systems are clearly explained here. The following are the applications that can be used for remote monitoring, control, safety, efficient utilization of resources etc.

4.1 Fault location, isolation and Service Restoration:

This function determines alternate paths for restoring service to the affected load points due to a fault on a section of the feeder considering current loading conditions. Most of the rural feeders do not have an alternate supply for service restoration. In urban areas, many alternate paths are available to a feeder; therefore, this function will be more effective. To implement this function, load switches or sectionalizers are needed at selected feeder locations. Earlier, sectionalizers were air-break switches without any remote-control features. All such switches should be replaced with remotely controllable switches.

4.2 Maintaining good voltage profile:

This function controls the capacitor banks and voltage regulators to provide a good voltage profile in the distribution feeders. An appropriate schedule for switching on/off of capacitor banks and raise/lower voltage regulator taps was based on the feeders' reactive load curves in order to get good voltage profiles and reduce energy losses.

4.3 Load Balancing:

This function distributes the system total load among the available transformers and the feeders in proportion to their capacities. As explained above, there was a need to replace the existing switches with remotely controllable switches in order to reconfigure the network for load balancing.

4.4 Load Control:

Load Management Function is divided into three categories:

(a) During summer there is usually a generation shortage. Therefore, loads need to be shed for long durations. A restriction and control schedule is worked out based on which of the loads at different substations are shed on a rotation basis. This function will automatically shed the loads according to the schedule. Provisions to change the schedule are also provided.

(b) Emergency Based Load Shedding: During emergencies, the utility needs to shed some load to keep up the balance between generation and demand. Instructions are sent to respective substations to shed load. Based on the amount of relief requested, the operator would select some loads and shed them. This function will help to identify loads to be shed considering their priority, time when they were last shed and the duration of the last interruption to ensure that only the required amount of load shedding is done.

(c) Agricultural Pump Control -Agricultural loads are categorized into groups. This function controls the agricultural loads automatically, based on predefined schedule. Provision to change schedules is also provided.

(d) Frequency-Based Automatic Load Shedding:-In this implementation, frequency-based automatic load shedding is carried out by software using this function. Appropriate loads are shed by the RTU, based on priorities and actual amount of load whenever the system frequency crosses the pre-set values. This is done as a closed loop function in the RTU. To sense system frequency, high-response-time (about 200 msec) frequency transducers are required. Presently it has been difficult to find such high-response-time frequency transducers.

4.5 Remote metering:

The function of remote metering is to read data from the meters and to provide information to the operator of the consumption patterns of the high-value HV customers. Its main feature is to provide a multiple tariff to the customers to encourage them to shift their loads from peak times to off-peak times. This function also provides meter-tampering detection

4.6Maintaining Maps:

The function of AM/FM is to have an integrated display of the geographical maps and single-line schematics of the electrical distribution network to facilitate: - Display dynamic information of various devices - Import scanned maps in standard formats - Provide functions like map information layering, zooming, scrolling and panning - Extract historical data of the devices from the database                                Fig 4. Typical example of a geographical map

4.7 Fuse-off-call operations:

This consumer-aid application function responds to complaints from consumers. It has the following features: Accepts interruption/restoration data from the operator.  Accepts DT trip/close information from SCADA. Identifies the interruption source whenever possible and gives information on the outage effects to the operator.  Displays status of energized /de-energized status of the consumer. This function will improve the response time to the consumer complaints.

4.8 Energy accounting:

This function helps in arriving at the system's load patterns, which helps in planning expansion. It also helps in detecting abnormal energy consumption patterns of the consumers and identifying high-loss areas. Processing the data obtained by the remote metering function and the data obtained from the substation does this.

5. CONCLUSION:

Because of the explained application programs and advantages SCADA systems can be used for efficient, reliable, safe power supply systems.  SCADA systems are most advancing computer application, so even once the SCADA system is installed its up gradation can be easily done. So SCADA system is to be implemented in all the power industries.

References:

(1) NDR Sarma, “ Rapid Growth Leads to System Automation Efforts”,

Transmission and Distribution World, Sept, 1997.

(2) David L. Brown, James W. Skeen, Parkash Daryani, Farrokh A Rahimi,

“Prospects For Distribution Automation at Pacific Gas & Electric Company”,

IEEE Transactions on Power Delivery, Vol. 6, No. 4, October 1991, pp 1946-1954.

# Text boxes

(From T&D World, Oct 2001)